## Sheet1
# | Field/Element name | Value | Unit | Type | description
| Patient ID | 1234567897 |  | Text
Patient LastName
Patient FirstName
| Patient DOB | 19560523 |  | Short Date
Patient Gender
Patient Ethnic
| Patient Weigth |  | kg
| Patient Height |  | cm
| Patient PaceMaker | FALSE
| Device Name | CardioSoft
| Device Model | V6.71 |  |  | some times it is sofware version
Device Serial Number
| Vendor Name | GE
| TestType | RESTING_ECG
| TestDate | 20180717
| TestTime | 131554000
| Sample Rate | 500
| Resolution | 5 |  | uVPerLsb
| LeadSampleCount | 5000
| MedianSampleCount | 600
| AC Filter | 60 |  | Hz
| HighPass Filter | 0.5
| LowPass Filter | 40
| LeadType | Standard
| LeadData LeadCount="12" |  |  |  | Group Name
| LeadData lead="I" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="II" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="III" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="aVR" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="aVL" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="aVF" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V1" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V2" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V3" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V4" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V5" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V6" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
MedianData MedianCount="12"
| LeadData lead="I" | 1,1,1,1,1,1,1,1,1,1,1 |  | CSV
| LeadData lead="II" | 1,1,1,1,1,1,1,1,1,1,1 |  | CSV
| LeadData lead="III" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="aVR" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="aVL" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="aVF" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V1" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V2" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V3" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V4" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V5" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| LeadData lead="V6" | -9,-8,-7,-7,-7,-8,-9,-10 |  | CSV
| ECGMeasurement |  |  |  | Group name
| HR | 70 | Hz
| P | 19 | ms
| PQ |  | ms
| RR |  | ms
| QRS |  | ms
| QT |  | ms
| QTc |  | ms
| QTd |  | ms
| Paxis |  | Deg
| QRSAxis |  | Deg
| Taxis |  | Deg
P_ON
P_OFF
QRS_ON
QRS_OFF
T_OFF
| MeasurementTable |  |  |  | This data is a dynamic table, where each device handles differently. LeadOrder values are the column header, and each subsequent element contains a row name and values of each column as comma separated values. A comma must be there is the value is missing
| LeadOrder | I, II, III, aVR, aVL, aVF, V1, V2, V3, V4, V5, V6 |  | CSV
| QDuration | 19, 19, 19, , 19, 19, 20, 20, 19, 19, 19, 19
| PAmplitude | 156, 249, 92, -205, 39, 170, 87, 175, 244, 361, 244, 175 |  | uV
| R1Amplitude | , , , 131, , , , , , , , |  | uV | How many rows in the table and name of each raw depends of the device
Interpretation
| InterpretationDate | 20180717
| InterpretationTime | 191604000
| InterpretationText | Sinus rhythm Normal
| InterpretationValidatedDate | 20180717
| InterpretationValidatedTime | 201301000
InterpretationValidatedBy